## AG 8.5 R32
OWNER'S MANUAL - PRODUCT FICHE
RELATED OWNER'S MANUAL CODE:
Trade Mark |  | Carrier
Model: Indoor |  | 42QHG009D8SH | 42QHG012D8SH
Model: Outdoor |  | 38QHG009D8SH | 38QHG012D8SH
Sound power level at standard rating conditions (Indoor/Outdoor) | [dB(A)] | 57/61 | 60/65
Refrigerant type |  | R32 | R32
GWP |  | 675 | 675
Charge amount | [kg] | 0.62 | 0.62
CO2 equivalent | [tonnes] | 0.4185 | 0.4185
SEER | [W/W] | 8.5 | 8.5
Energy efficiency class in cooling |  | A+++ | A+++
Annual electricity consumption in cooling [1] | [kWh/a] | 109 | 138
Design load in cooling mode (Pdesign) | [kW] | 2.64 | 3.36
SCOP (average heating season) | [W/W] | 4.2 | 4.3
Energy efficiency class in heating (average season) |  | A+ | A+
Annual electricity consumption in heating (average season) [2] | [kWh/a] | 867 | 846
Warmer heating season |  | – | –
Colder heating season |  | – | –
Design load in heating mode (Pdesign) | [kW] | 2.6 | 2.6
Declared capacity at reference design condition (heating average season) | [kW] | 1.88 | 2.087
Back up heating capacity at reference design condition (heating average season) | [kW] | 0.72 | 0.513
Refrigerant leakage contributes to climate change. Refrigerant with lower global warming potential (GWP) would contribute less to global warming than a refrigerant with higher GWP, if leaked to the atmosphere. This appliance contains a refrigerant fluid with a GWP equal to [675]. This means that if 1kg of this refrigerant fluid would be leaked to the atmosphere, the impact on global warming would be [675] times higher than 1kg of CO2 , over a period of 100 years. Never try to interfere with the refrigerant circuit yourself or disassemble the product yourself and always ask a professional
Contains fluourinated greenhouse gases.
Importer: Beijer Ref AB Address: Stortorget 8, Malmö, Sweden
Manufacturer: Century Carrier Residential Air-conditioning Equipment Co., Ltd. Address: Room 505, 5/F, Tower 3, Enterprise Square, 9 Sheung Yuet Road, Kowloon Bay, Kowloon, Hong Kong
[1] [2] Energy consumption “XYZ” kWh per year, based on standard test results. Actual energy consumption will depend on how the appliance is used and where it is located.
Note: Please check the model information above according to the model name on the nameplate.