## AG 4.0 R32
OWNER'S MANUAL - PRODUCT FICHE
RELATED OWNER'S MANUAL CODE:
Trade Mark |  | Carrier
Model: Indoor |  | 42QHG009D8S | 42QHG012D8S | 42QHG018D8S | 42QHG022D8S | 42QHG024D8S
Model: Outdoor |  | 38QHG009D8S | 38QHG012D8S | 38QHG018D8S | 38QHG022D8S | 38QHG024D8S
Sound power level at standard rating conditions (Indoor/Outdoor) | [dB(A)] | 56/63 | 56/64 | 58/65 | 63/69 | 63/69
Refrigerant type |  | R32 | R32 | R32 | R32 | R32
GWP |  | 675 | 675 | 675 | 675 | 675
Charge amount | [kg] | 0.6 | 0.65 | 1.1 | 1.45 | 1.45
CO2 equivalent | [tonnes] | 0.405 | 0.438 | 0.743 | 0.979 | 0.979
SEER | [W/W] | 7.4 | 7 | 7 | 6.6 | 6.5
Energy efficiency class in cooling |  | A++ | A++ | A++ | A++ | A++
Annual electricity consumption in cooling [1] | [kWh/a] | 130 | 182 | 264 | 331 | 379
Design load in cooling mode (Pdesign) | [kW] | 2.75 | 3.65 | 5.28 | 6.25 | 7.04
SCOP (average heating season) | [W/W] | 4.1 | 4.2 | 4 | 4 | 4
Energy efficiency class in heating (average season) |  | A+ | A+ | A+ | A+ | A+
Annual electricity consumption in heating (average season) [2] | [kWh/a] | 854 | 833 | 1435 | 1820 | 1820
Warmer heating season |  | – | – | – | – | –
Colder heating season |  | – | – | – | – | –
Design load in heating mode (Pdesign) | [kW] | 2.5 | 2.5 | 4.1 | 5.2 | 5.2
Declared capacity at reference design condition (heating average season) | [kW] | 2.333 | 2.003 | 3.107 | 4.298 | 4.298
Back up heating capacity at reference design condition (heating average season) | [kW] | 0.167 | 0.497 | 0.993 | 0.902 | 0.902
Refrigerant leakage contributes to climate change. Refrigerant with lower global warming potential (GWP) would contribute less to global warming than a refrigerant with higher GWP, if leaked to the atmosphere. This appliance contains a refrigerant fluid with a GWP equal to [2088]. This means that if 1kg of this refrigerant fluid would be leaked to the atmosphere, the impact on global warming would be [2088] times higher than 1kg of CO2 , over a period of 100 years. Never try to interfere with the refrigerant circuit yourself or disassemble the product yourself and always ask a professional
Contains fluourinated greenhouse gases.
Importer: Beijer Ref AB Address: Stortorget 8, Malmö, Sweden
Manufacturer: Century Carrier Residential Air-conditioning Equipment Co., Ltd. Address: Room 505, 5/F, Tower 3, Enterprise Square, 9 Sheung Yuet Road, Kowloon Bay, Kowloon, Hong Kong
[1] [2] Energy consumption “XYZ” kWh per year, based on standard test results. Actual energy consumption will depend on how the appliance is used and where it is located.
Note: Please check the model information above according to the model name on the nameplate.